GUIDE SPECIFICATION FOR SELF-EXPANDING CORK EXPANSION JOINT FILLER

SECTION 03 15 00 – CONCRETE ACCESSORIES

EXPANSION/CONTRACTION JOINT FILLER

Specifier Notes: This guide specification is written according to the Construction Specifications Canada (CSC) format. The section must be carefully reviewed and edited by the architect or engineer to meet the requirements of the project. Coordinate this section with other specification sections and the drawings.

Specifier Notes: W. R. MEADOWS® SELF-EXPANDING CORK EXPANSION JOINT is formed and compressed under heat and pressure to permit expansion up to 140% of original thickness after installation, which permits the filler to compensate for concrete shrinkage. Normal humidity conditions after installation activate the self-expanding properties of the cork. SELF-EXPANDING CORK EXPANSION JOINT is used where high resiliency is needed, such as in sewage plants, floodwalls, spillways, filtration plants, and in numerous commercial and industrial applications. It is especially desirable where a constant friction-fit is required. Recommended and compatible with all known hot-poured and cold-applied joint sealants. Provides effective support to minimize shear stress on the sealant.

1.		General

1.1		SECTION INCLUDES

.1	Application of expansion/contraction joint filler.

1.2		RELATED SECTIONS

Specifier Notes: Edit the list of related sections as required for the project. List other sections dealing with work directly related to this section.

.1	Section 03 00 00 - Concrete.

.2	Section 07 92 00 – Joint Sealants.

1.3		REFERENCES

.1	AASHTO M 153 - Standard Specification for Preformed Sponge Rubber and Cork Expansion 		Joint Fillers for Concrete Paving and Structural Construction.

.2	ASTM D 545 – Standard Test Methods for Preformed Expansion Joint Fillers for Concrete 		Construction (Non-Extruding and Resilient Types).

.3	ASTM D 1752 - Standard Specification for Preformed Sponge Rubber Cork and Recycled 		PVC Expansion Joint Fillers for Concrete Paving and Structural Construction.

.4	Corps of Engineers CRD-C 509 - Standard Specifications for Preformed Sponge Rubber and 		Cork Expansion Joint Fillers for Concrete Paving and Structural Construction.

.5	FAA Specification Item P-610-2.7 - Structural Portland Cement Concrete.

.6	Federal Specification HH-F-341.

1.4		SUBMITTALS

.1	Comply with Section 01 33 00 - Submittal Procedures.

.2	Submit manufacturer's product data and application instructions.

1.5		DELIVERY, STORAGE, AND HANDLING

.1	Deliver materials to site in manufacturer's original, unopened containers and packaging, with 	labels clearly identifying product name and manufacturer.

.2	Store materials in a clean, dry area in accordance with manufacturer's instructions.

.3	Store cartons in a weatherproof location for periods not longer than six months.

.4	Protect materials during handling and application to prevent damage.

2.	 	Products

2.1		MANUFACTURER

.1	W. R. MEADOWS of CANADA, 70 Hannant Court, Milton, Ontario, Canada L9T 5C1. (800) 563-3618. Fax (905) 878-4125. Web Site www.wrmeadows.com.

2.2		MATERIALS

.1	Performance-Based Specification:  Expansion joint filler composed of granulated cork 			particles resin bonded into board form, compressed and dehydrated under heat and 			pressure, that will expand up to 140% of the original thickness after installation due to the re-		absorption of moisture.  Joint filler shall conform to the following standards and have the 			following requirements:

.1	ASTM D1752, Type III.

.2	AASHTO M 213, Type II.

.3	FAA Spec Item P-610-2.7.

.4	COE CRD-C-509, Type II.

.5	Federal Specification HH-F-341 F, Type II, Class B.

.6	ASTM D 545

.1	Density Minimum:  256 kg/m³ (16.0 lb./ft.³)

.2	Load to Compress to 50% original thickness:  0.34 – 10.33 MPa (50 – 1500 	psi).

.3	Recovery Mimimum:  90%.

Specifier Notes: Specify the thickness of the expansion-contraction joint filler according to project requirements.

.7.	Thickness: [1/2”] [3/4” ] [1”] ([13 mm] [19 mm] [25 mm]).

.2	Proprietary-Based Specification:  SELF-EXPANDING CORK EXPANSION JOINT FILLER by W. R. MEADOWS.

3.		Execution

3.1		EXAMINATION

.1	Examine areas to receive expansion/contraction joint filler. Notify architect or engineer if areas are not acceptable. Do not begin application until unacceptable conditions have been corrected.

3.2		APPLICATION

.1	Install expansion-contraction joint filler in accordance with manufacturer's instructions.

.2	Position joint filler against walls, at interrupting objects or columns, and against abutting structures before concrete placement.

.3	Install joint filler ½” (6 mm) below concrete finish level.

.4	Prior to sealing, slide expansion joint cap over the expansion joint.

.5	Place concrete and allow to cure.

.6	Insert screwdriver through the top of expansion joint cap, pull free and discard.

.7	Seal with suitable joint sealant.

3.4		PROTECTION

.1	Protect joint sealant from jobsite abuse prior to joint sealant application.

END OF SECTION