below-grade vapor retarders

SECTION 07 26 16
section 03 00 00
below-grade gas retarders
SECTION 07 26 23
section 03 00 00

	Specifier Notes:  This guide specification is written according to the Construction Specifications Institute (CSI) MasterFormat.  The section must be carefully reviewed and edited by the architect or engineer to meet the requirements of the project.  Coordinate this section with other specification sections and the drawings.


	Specifier Notes:  PERMINATOR (20 MIL) below-grade vapor retarder is a new generation of a polyolefin-based resin-chemical technology providing enhanced puncture resistance.  PERMINATOR (20 MIL) performs as a water-vapor, methane and radon retarding membrane for underslab conditions.  The specifier shall edit this specification to reflect the end use of PERMINATOR (20 MIL) as either a water vapor retarder or a below-grade radon and methane gas retarder based on the above-referenced MasterFormat Sections.  Additionally, the specifier shall select the MasterFormat Section Number based on their location preference within the project documents.  When specified in 07 26 16 and 07 26 23, coordination with Concrete specifications and drawings is recommended.  Manufacturer’s technical data sheets, standard details, Installation Guidelines and technical bulletins shall supplement the information contained herein.


PART 1 GENERAL

1.01 SECTION INCLUDES

A. Surface preparation.

B. Application of an underslab membrane [vapor] [gas] retarder system.

1.02 RELATED SECTIONS

	Specifier Notes:  Edit the list of Related Sections as required for the project.  Include additional sections for Work directly related to or connected with this specification.


A. Section 03 30 00 – Cast-in-Place Concrete.

B. Section 07 13 26 - Self-Adhering Sheet Waterproofing.

C. Section 07 14 16 - Cold Fluid-Applied Waterproofing.

D. Section 09 64 00 - Wood Flooring.

E. Section 09 65 00 - Resilient Flooring.
F. Section 31 20 00 Earth Moving.
1.03 REFERENCES

A. ACI 302.1R - Guide to Concrete Floor and Slab Construction.

B. ACI 302.2R - Concrete Slabs that Receive Moisture-Sensitive Flooring Materials—Guide.

C. ASTM D1709 - Standard Test Methods for Impact Resistance of Plastic Film by the Free-Falling Dart Method.

D. ASTM D1434 - Standard Test Method for Testing Gas Permeability Characteristics of Plastic Film and Sheeting.

E. ASTM E96 - Standard Test Methods for Water Vapor Transmission of Materials.
F. ASTM E154 - Standard Test Methods for Water Vapor Retarders Used in Contact with Earth Under Concrete Slabs, on Walls, or as Ground Cover.
G. ASTM E1643 - Standard Practice for Selection, Design, Installation, and Inspection of Water Vapor Retarders Used in Contact with Earth or Granular Fill Under Concrete Slabs.
H. ASTM E1745 - Standard Specification for Plastic Water Vapor Retarders Used in Contact with Soil or Granular Fill Under Concrete Slabs.

I. US EPA Self-Potential - SP Method No. 3873.

1.04 SUBMITTALS

A. Comply with Section 01 33 00 - Submittal Procedures.
B. Submit manufacturer's product data and application instructions.
1.05 QUALITY ASSURANCE

A. Use an experienced installer and adequate number of skilled personnel who are thoroughly trained and experienced in the application of the membrane [vapor] [gas] retarder system.
B. Obtain membrane vapor retarder materials from a single manufacturer regularly engaged in manufacturing the product.

C. Provide products which comply with all state and local regulations controlling use of volatile organic compounds (VOCs).

1.06 PRECONSTRUCTION MEETING

A. Preconstruction Meeting:  Convene [one] [______] week prior to commencing Work of this section, in accordance with Section [XX XX XX] - Project Meetings, and Section [XX XX XX] – membrane [vapor] [gas] retarder system.
B. Review peripheral system tie-in conditions unrelated to the membrane retarder and confirm compatibility of all connecting systems.  Ensure all peripheral systems are connected in a fully adhered manner.

1.07 MOCKUPS

A. Prior to start of the Work, apply membrane retarder system in accordance with manufacturers current technical data sheets, specifications, installation guidelines and details to demonstrate correct lapping and sealing to protrusions, adjoining construction and other termination conditions.

B. Apply a typical 8 foot long by 8-foot wide (2.4 meters by 2.4 meters) representation of the membrane retarder system onto correctly prepared substrate, incorporating connections and interfaces with the following:  MEP penetrations, vertical foundations and adjacent constructions.  At architect’s discretion, the mockup may be incorporated into the Work.
1.08 DELIVERY, STORAGE, AND HANDLING

A. Deliver materials to project site in manufacturer's original, unopened packaging, with labels clearly identifying the manufacturer and product name.
B. Store materials in a clean, dry area in accordance with manufacturer's instructions.

C. Protect materials during handling and application to prevent damage or contamination.

1.09 ENVIRONMENTAL REQUIREMENTS

A. Product is not intended for conditions subject to abuse or permanent exposure to the elements.
B. Do not apply on frozen ground.

PART 2
 PRODUCTS

2.01 MANUFACTURER

A. W. R. MEADOWS, INC., PO Box 338, Hampshire, Illinois 60140-0338. (800) 342-5976. (847) 683-4500. Fax (847) 683-4544. Web Site www.wrmeadows.com.

2.02 MATERIALS

A. 20 Mil Plastic Vapor Retarder

1. Below-grade [vapor] [gas] retarder manufactured of a new generation of polyolefin-based resin-chemical technology having the following properties:
a. Water-Vapor Permeance, ASTM E96:  0.005 perms.

b. Puncture Resistance, ASTM D1709, Method B:  greater than 3500 grams.

c. Tensile Strength, ASTM E154, Section 9:  105 lb./Force/in. (18.38 kN/m).
d. Methane Gas Permeability, ASTM D1434, Procedure V:  1.815 x 10-1 GTR (L/m2 *24hr).
e. Radon Transmittance, SP Method No. 3873:  <3 x 10-9 m/s.

2. Proprietary-Based Specification:

a. PERMINATOR (20 MIL) by W. R. MEADOWS.

2.03 ACCESSORIES

A. High density polyethylene tape with pressure sensitive adhesive:  PERMINATOR TAPE by W.R. Meadows.
B. Primer-adhesive:  MEL-PRIME by W. R. MEADOWS.
C. Pipe collars fabricated from PERMINATOR 15-mil [vapor] [gas] retarder and PERMINATOR TAPE by W. R. MEADOWS.
D. Fluid-applied waterproofing for closely spaced penetration clusters:  MEL-ROL LM or MEL-ROL LM LIQUID MEMBRANE Two-Component by W. R. MEADOWS.
E. Termination bar:  TERMINATION BAR by W. R. MEADOWS.
PART 3 EXECUTION

3.01 EXAMINATION

A. Examine substrates to receive the membrane retarder system are deemed appropriate in accordance with manufacturer’s current technical literature.  Notify architect if substrates are not acceptable.  Do not begin the Work until unacceptable conditions have been corrected.

3.02 SURFACE PREPARATION

A. Prepare substrates in accordance with manufacturer’s instructions and ASTM E1643.  Reference ACI 302.1R-04, Chapter 4, Section 4.1.4 prior to installation of membrane retarder system.
B. Remove surface rust, scale, oils and coatings from metal surfaces to receive pressure sensitive tape.  Apply primer-adhesive immediately after and allow to tack up before placing pressure sensitive adhesive tape.
3.03 INSTALLATION

A. Install the membrane retarder in accordance with manufacturer’s instructions and ASTM E 1643.

B. Unroll membrane retarder with the long dimension parallel with the direction of the placement of the concrete.

C. Lap membrane retarder over footings and seal to foundation walls.  Position membrane retarder snug to all vertical pipe penetrations.
D. Overlap all lateral and end joints 6 inches (152 mm) and seal with manufacturer’s pressure sensitive tape.

E. Seal all penetrations, including pipes, with manufacturer’s pressure sensitive tape and pipe collar fabricated from the specified 15-mil membrane retarder.
1. Cut a minimum 12-inch (304 mm) wide section by one and a half the pipe circumference with 15-mil membrane retarder.  Cut “fingers” one half the width of the section.

2. Wrap non-cut half of pipe collar onto pipe.  Apply “fingers” of collar onto surrounding 15-mil membrane retarder.

3. Completely tape pipe collar to pipe and surrounding 15-mil membrane retarder in accordance with this specification, manufacturer’s technical data sheet and installation guidelines.
	Specifier Notes:  Where pipe penetrations are clustered too close together, use of cold fluid-applied waterproofing accessory applied around the pipes and onto surrounding membrane is advised.


F. Repair damaged areas with patch sections of the specified membrane retarder.  Apply patch sections over compromised areas.  Extend 6 inches (152 mm) beyond the damaged onto surrounding membrane.  Tape all sides of patch with pressure sensitive tape.

3.04
PROTECTION

A. Protect and prevent membrane retarder from physical damage until placement of concrete.

B. Keep UV exposure to no more than 60 days.

END OF SECTION
07 26 16-3
Below-Grade [Vapor] [Gas] Retarders

