FLUID-APPLIED MEMBRANE AIR BARRIERS, VAPOR PERMEABLE
SECTION 07 27 26
	Specifier Notes:  This guide specification is written according to the Construction Specifications Institute (CSI) MasterFormat.  The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project.  Coordinate this section with other specification sections and the drawings.


	Specifier Notes:  AIR-SHIELD STPE is a single-component moisture cure, vapor-permeable air barrier and drainage plane that forms a tough, seamless, elastomeric membrane exhibiting excellent resistance to air leakage.  AIR-SHIELD STPE is 99 percent solids and is used on new and retrofit projects for above-grade wall assemblies.  Manufacturer’s technical data sheets, standard details, Installation Guidelines and technical bulletins shall supplement the information contained herein.


PART 1 GENERAL
1.01 GENERAL REQUIREMENTS
A. Surface preparation.

B. Application of liquid-applied vapor permeable air barrier.

C. Application of materials to bridge and seal air leakage pathways in the following conditions:
1. Wall-to-roof connections and penetrations.

2. Wall-to-foundation connections.

3. Windows, curtain walls, storefronts, louvers and door penetrations.
4. Expansion and control joints.

5. Masonry ties.

6. All other penetrations through the wall assembly.

1.02 RELATED SECTIONS

	Specifier Notes:  Edit the list of related sections as required for the project.  List other sections dealing with work directly related to this section.


A. Section 04 20 00 - Unit Masonry.

B. Section 07 21 00 - Thermal Insulation.

C. Section 07 50 00 - Membrane Roofing.

D. Section 07 60 00 - Flashing and Sheet Metal.

E. Section 07 70 00 - Roof and Wall Specialties and Accessories.

F. Section 07 92 00 - Joint Sealants.

G. Section 08 10 00 - Doors and Frames.

H. Section 08 50 00 - Windows.

I. Section 09 28 00 – Backing Boards and Underlayments.

1.03 REFERENCES

A. ASTM C794 - Standard Test Method for Adhesion-in-Peel of Elastomeric Joint Sealants.
B. ASTM C1280 - Standard Specification for Application of Exterior Gypsum Panel Products for Use as Sheathing.
C. ASTM C1305 - Standard Test Method for Crack Bridging Ability of Liquid-Applied Waterproofing Membrane.
D. ASTM D412 - Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers-Tension.
E. ASTM D522 - Standard Test Methods for Mandrel Bend Test of Attached Organic Coatings.
F. ASTM D1970 - Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection.

G. ASTM D2247 - Standard Practice for Testing Water Resistance of Coatings in 100 % Relative Humidity.
H. ASTM D2369 - Standard Test Method for Volatile Content of Coatings.

I. ASTM D4541 - Standard Test Method for Determining Pull-Off Strength of Coatings Using Portable Adhesion Testers.
J. ASTM E84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

K. ASTM E96 (Method B) - Standard Test Methods for Water Vapor Transmission of Materials.

L. ASTM E331 - Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference.
M. ASTM E2178 - Standard Test Method for Air Permeance of Building Materials.

N. ASTM E2357 - Standard Test Method for Determining Air Leakage of Air Barrier Assemblies.

O. GA-253-2018 – Application of Gypsum Sheathing.
1.04 SUBMITTALS

A. Comply with Section 01 33 00 - Submittal Procedures.

B. Submit manufacturer's product data and application instructions.

1.05 QUALITY ASSURANCE

A. Obtain air barrier materials from a single manufacturer regularly engaged in manufacturing the product.

B. Provide products which comply with all state and local regulations controlling use of volatile organic compounds (VOCs).

1.06 PRECONSTRUCTION MEETING
A. Preconstruction Meeting:  Convene [one] [______] week prior to commencing Work of this section, in accordance with Section [XX XX XX] - Project Meetings, and Section [XX XX XX] – The Air Barrier System.
B. Review peripheral system tie-in conditions unrelated to the air barrier and confirm compatibility of all connecting systems.  Ensure all peripheral systems are connected in a fully adhered manner.

1.07 MOCKUPS
A. Prior to start of the Work, apply air barrier system mockup in accordance with the following to verify details under shop drawing submittals and to demonstrate tie-ins with adjoining construction and other termination conditions and to confirm quality of materials and execution.

B. Construct a typical exterior wall, 8 foot long by 8 foot wide (2.4 meters by 2.4 meters), incorporating the connection and interface with the following: back-up wall, cladding system, window and doorframe rough openings, insulation, flashing, building corner conditions, junctions with roof system, foundation, MEP penetrations.

C. Test mockup in accordance with Section [XX XX XX] – The Air Barrier System, and in accordance with [ASTM E783] [ASTM E1105] [ASTM E779] [ASTM E1186] for air and water infiltration.

D. Coordinate with the inspection and testing agency.  Do not cover any installed air barrier membrane unless it has been inspected, tested, and approved.

1.08 DELIVERY, STORAGE, AND HANDLING
A. Deliver materials to project site in manufacturer's original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

B. Store materials in a clean and dry area in accordance with manufacturers’ instructions.

C. Store at temperatures at or above 40 degrees F (4 degrees C), free from contact with cold or frozen surfaces.

D. Protect materials during handling and application to prevent damage or contamination.
1.09 ENVIRONMENTAL REQUIREMENTS

A. Air barrier products are not intended for conditions subject to abuse or permanent exposure to the elements.

B. Do not proceed with product application if rainfall is forecast or imminent within 12 hours.
C. Do not apply membrane when air or substrate temperatures are below 25 degrees F (-4 degrees C) or within 24 hours after completed installation.
1.10 WARRANTY

A. Provide manufacturers’ standard [five (5) year] [ten (10) year] material warranty.
PART 2
 PRODUCTS
2.01 MANUFACTURER

A. W. R. MEADOWS®, INC., 300 Industrial Drive / PO Box 338, Hampshire, Illinois 60140-0338. (800) 342-5976, Website:  www.wrmeadows.com.

2.02 MATERIALS

A. Fluid-Applied, Vapor-Permeable Air Barrier:  Single-component, water-based acrylic liquid air barrier having the following properties:

1. Color: Green.
2. Air Permeability, ASTM E2178: <0.004 cfm/ft.2 at 1.57 lb./ft2 (<0.02 L/S/M2 at 75 Pa).
3. Air Barrier Assembly Leakage, ASTM E2357: <0.04 cfm/ft.2 at 1.57 lb./ft2 (<0.2 L/S/M2 at 75 Pa).
4. Water Vapor Permeance, ASTM E96 Method B: 15 perms.

5. Service Temperature: 175 degrees F (80 degrees C), maximum.

6. Elongation, ASTM D412: 638%.
7. Tensile Strength, ASTM D412: 100 psi (0.69 MPa).
8. Nail Sealability, ASTM D1970: Pass.

9. Water Penetration, ASTM E331:  Pass.

10. Water Resistance, ASTM D2247:  Pass – no blistering or other deleterious effects.

11. Peel Adhesion to Concrete, ASTM C794:  ≥5.0 pli.

12. Adhesion, ASTM D4541:  ≥16 psi (0.11 MPa).
13. Low Temperature Flexibility, ASTM D522:  Pass – no surface change.

14. Crack Bridging, ASTM C1305:  Pass.
15. Application Temperature:  >25 degrees F (-4 degrees C) and rising.

16. VOC Content: 50 g/L.

B. Proprietary Based Specification: AIR-SHIELD STPE by W. R. MEADOWS.
2.03 ACCESSORIES

A. Transition Membrane and Flashing: Self-adhesive membranes for the reinforcement of joints, dissimilar structural connections, flashing of rough openings, inside and outside corners and penetrations.

1. AIR-SHIELD by W. R. MEADOWS.
2. AIR-SHIELD SMP by W. R. MEADOWS.

3. AIR-SHIELD BUTYL FLASHING by W. R. MEADOWS.

B. Through-Wall Flashing: 40-mil self-adhesive polymeric sheet membrane.
1. AIR-SHIELD THRU-WALL FLASHING by W. R. MEADOWS.

C. Liquid Flashing: Liquid-applied flashing and detail membrane for membrane reinforcement of joints, inside and outside corners and dissimilar material connections.
1. AIR-SHIELD LIQUID FLASHING by W. R. MEADOWS.

D. Alternate Self-Adhering Flashings: 40-mil, self-adhering, SBS rubberized asphalt-backed membrane with aluminum facer for the flashing of rough openings.
1. AIR-SHIELD ALUMINUM FLASHING.
E. Joint Reinforcing Fabric: Spun-bonded polyester fabric for reinforcement of flat joints and corner conditions with primary fluid-applied membrane.

1. REINFORCING FABRIC HCR by W. R. MEADOWS.

F. Adhesive-Primer for Self-Adhesive Membranes:

1. MEL-PRIME™ Solvent-Based VOC Adhesive by W. R. MEADOWS.
2. MEL-PRIME™ W/B Water-Based Adhesive by W. R. MEADOWS.
G. Termination Sealant: Non-slump sealant for penetrations and termination of self-adhering membranes.

1. BEM by W. R. MEADOWS.
J. Termination Bar: Optional termination for self-adhesive through-wall flashing membrane.

1. TERMINATION BAR by W. R. MEADOWS.
PART 3 EXECUTION
3.01 EXAMINATION

A. Examine surfaces to receive the membrane system are deemed appropriate in accordance with air barrier manufacturer’s current technical literature.
B. Notify [Architect] [Contractor] if surfaces are not acceptable.  Do not begin surface preparation or application until unacceptable conditions have been corrected.
C. Start of the Work shall construe installer acceptance of substrates and conditions.
3.02 SURFACE PREPARATION

A. Protect adjacent surfaces not designated to receive the air barrier.
B. Clean and prepare surfaces to receive air barrier membrane in accordance with manufacturer's instructions.
C. Ensure all areas to receive joint treatment, reinforcement and membrane application are clean, dry, smooth, and free from all bond-breaking contaminants.  Remove and replace any damaged structural substrate components.
D. Do not apply the air barrier system to surfaces unacceptable to the manufacturer.
E. All surfaces to receive fluid-applied membrane air barrier system must be clean, free of standing water, ice, snow, frost, dust, dirt, oil, curing compounds, or any other foreign material detrimental to proper adhesion of the membrane.
F. Prefill all bug holes on concrete and masonry with appropriate cementitious patching mortar.  Strike masonry joints flush.
G. Patch all cracks, small voids, offsets, irregularities, and small deformities on concrete and masonry surfaces with appropriate cementitious patching mortar at least two hours before application.  Eliminate all sharp protrusions and fins in cast-in-place concrete.
3.03 INSTALLATION
A. Prime surfaces to receive self-adhering membranes within one working day with applicable surface conditioner-primer.  Areas not covered within one day shall be reprimed.  Ensure primer extends a minimum of 2 inches (51 mm) beyond area to receive self-adhering membranes.
B. At the end of each day, when not covered with primary fluid-applied air barrier, seal the edges of self-adhering membranes with termination sealant.  Tool smooth to permit water shedding.
C. Concrete and Masonry Crack and Joint Treatment

1. Prefill nonmoving 1/16 inch to ¼-inch (1.6 mm to 3.2 mm) cracks and joints with termination sealant, mastic or liquid flashing and tool smooth, ensuring 1-inch (25.4 mm) coverage to both sides.
a. Prefill nonmoving 1/4 inch to 1/2-inch (6.4 mm to 12.7 mm) cracks and joints with termination sealant or liquid flashing and allow to cure.
2. When using liquid flashing, apply liquid flashing 3-inches (76.2 mm) onto both sides of nonmoving cracks and joints and tool smooth.
3. Alternatively, apply a 4-inch-wide (101.6 mm) strip of self-adhered flashing, centered over nonmoving flat cracks and joints.
a. Apply a 6-inch (152.4 mm)-wide strip of self-adhering flashing over cracks and joints at inside corners.
D. Dissimilar Structural Material Connections

1. Connect joints between dissimilar building materials with a 6-inch-wide (152.4 mm) section of self-adhering transition membrane or band of liquid flashing, centered over the dissimilar material joint.
	Specifier Notes:  At architect, specifier or contractor’s discretion, use one or more of the four listed exterior sheathing joint reinforcement methods.  Contact the manufacturers technical representatives in the event joints are greater than ½ inch (12.7 mm) but less than 1 inch (25.4 mm).  Plywood and OSB ends, edges, inside and outside corner shall solely be reinforced using self-adhering transition membranes.


E. Detailing Exterior Sheathing Panels
1. Ensure exterior wood sheathing panels are installed according to manufacturers or engineer of record requirements.  Install and fasten exterior gypsum panels in accordance with the requirements of the manufacturer, engineer of record and ASTM C1280.

a. Cover fastener heads and missed fastener holes with termination sealant or liquid flashing or primary fluid-applied air barrier as necessary.

[Delete if not used]
2. Termination Sealant Joint Treatment Method

a. Prefill flat joints ¼ inch (6.4 mm) to no greater than ½ inch (12.7 mm) with termination sealant and strike flush with ample contact on both sides of the joint.  Allow termination sealant to fully cure prior to overcoating with fluid-applied air barrier.

[Delete if not used]
3. Liquid Flashing Joint Treatment Method
a. Prefill joints up to ½ inch (12.7 mm) with liquid flashing and strike flush ensuring ample contact on both sides of the joint.  Allow liquid flashing to become firm.
b. Apply liquid flashing centered over the joint and extend a minimum of 3 inches (76.2 mm) onto both sides of the exterior sheathing panels.

	Specifier Notes:  All gaps greater than ½ inch (12.7 mm) but not exceeding 1-inch (25.4 mm) must be prefilled using termination sealant only.  Allow to fully cure before overcoating with air barrier system.


[Delete if not used]
4. Self-Adhering Flashing Joint Treatment

a. Fill joints up to ½ inch (12.7 mm) with termination sealant prior to application of self-adhering membrane.  Allow termination sealant to fully cure.
b. Prime both sides of the joint extending 5 inches (127 mm) onto both sides of the exterior sheathing panels.
c. Apply a 4-inch (25.4 mm) wide strip of self-adhering membrane centered over the joint and firmly roll press into place.
	Specifier Notes:  Coat exposed, raw edges of exterior gypsum sheathing with adhesive primer prior to application of self-adhering or liquid flashings.


3.04 Inside and Outside Corners

A. Apply a 6-inch-wide (152.4 mm) section of self-adhering transition membrane flashing or liquid flashing onto properly prepared substrates at the center of inside and outside corners.  Ensure a 2-inch (50.8 mm) overlap of successive sections.

B. Roll all areas of membrane with roller ensuring full adhesion.  Eliminate all wrinkles and fish-mouths.

C. Alternatively, apply liquid flashing at the center of inside and outside corners, ensuring a minimum 3-inch (76.2 mm) lap onto each adjacent plane.

	Specifier Notes:  At architect or consultant’s discretion, in addition to the requirements outlined in Part 3.05, supplemental use of a termination bar applied onto the horizontal leading edge of through-wall flashing may be used.


3.05 Through-Wall Flashing

A. Apply self-adhering through-wall flashing a minimum of 8 inches (203.2 mm) onto primed backup wall substrates.  Ensure through-wall flashing is recessed ½-inch (12.7 mm) from exterior face of brick and masonry claddings.

B. Overlap successive sections of through-wall flashing 4 inches (101.6 mm).  Seal vertical and horizontal overlapped membrane edges with termination sealant.

C. Firmly roll press through-wall flashing to ensure complete adhesion.
D. Apply a bead of termination sealant onto to leading edges horizontal leading edges and tool smooth to permit water shedding.
	Specifier Notes: As best practice, use of self-adhering 40-mil (1.02 mm) SBS or 14.5 mil (0.37 mm) butyl flashing is suggested for detailing of sill and head conditions of rough openings.  Apply termination sealant onto membrane leading edges and tool smooth to permit water shedding.


3.06 Windows and Rough Openings

A. Ensure sides and ends of self-adhering flashings are lapped a minimum of 2 inches (50.8 mm) in shingle fashion.

B. Beginning at the bottom of rough openings, place adhered flashings on the sill with a minimum of 3 inches (76.2 mm) extending onto each adjacent plane.  Wrap sill flashing vertically onto jambs a minimum of 6 inches (152.4 mm).
C. Shingle lap flashing onto jambs with a minimum of 3 inches (76.2 mm) extending onto each adjacent plane.
D. Wrap rough opening head conditions with a minimum of 3 inches (76.2 mm) extending onto each adjacent plane.
	Specifier Notes:  Fluid-applied air barrier coverage rates may be affected by variations in substrate porosity.


3.07 Primary Fluid-Applied Membrane Air Barrier Installation

A. Apply air barrier membrane in accordance with manufacturer's instructions.

B. Apply membrane by spray or roller to a uniform wet film thickness of 20 mils over exterior gypsum sheathing, plywood and OSB.  Apply to uniform wet film thickness of 27 mils over concrete and concrete masonry units.
C. Overlap fluid-applied air barrier 2 inches (50.8 mm) onto the leading edges of self-adhering transition membranes and flashings.

D. Frequently inspect surface area with a wet mil gauge throughout the application to ensure consistent thickness.
E. Work material into slight indentations on concrete substrates to ensure there are no discontinuities of membrane film.
F. Allow 48 hours for full cure of the membrane.
3.08 PROTECTION

A. Cover air barrier as soon as possible after application to prevent damage.  The air barrier may be exposed to UV conditions up to 12 months.

END OF SECTION
07 27 26-7
Fluid Applied Membrane Air Barriers

